## QUALITY CONTROLS Catalogue
SECTION 2: QUALITY CONTROLS & CALIBRATORS
DESCRIPTION | DETAILS | FORMAT | CAT NO. | SIZE | STORAGE
SECTION 1: Antioxidant Control
Glutathione Peroxidase Control |  | Lyo | BXC0556A | 5 x 1ml | 2-8°C
Glutathione Peroxidase Calibrator |  | Lyo | BXC0557A | 5 x 1ml | 2-8°C
Glutathione Reductase Calibrator |  | Lyo | BXC0999A | 5 x 1ml | 2-8°C
Glutathione Reductase Control |  | Lyo | BXC0460A | 5 x 1ml | 2-8°C
Superoxide Dismutase Control |  | Lyo | BXC0433A | 5 x 1ml | 2-8°C
Superoxide Dismutase Calibrator |  | Lyo | BXC0434A | 5 x 1ml | 2-8°C
Total Antioxidant Status (TAS) Calibrator |  | Lyo | BXC0555A | 1 x 1ml | 2-8°C
Total Antioxidant Status (TAS) Control |  | Lyo | BXC0554A | 5 x 5ml | 2-8°C
SECTION 3: Blood Gas & Electrolyte Control
Blood Gas & Electrolyte Control (Level 1) |  | LS | BXC0108A | 1 x 2ml | 2-8°C
Blood Gas & Electrolyte Control (Level 1) |  | LS | BXC0108D | 10 x 2ml | 2-8°C
Blood Gas & Electrolyte Control (Level 2) |  | LS | BXC0108B | 1 x 2ml | 2-8°C
Blood Gas & Electrolyte Control (Level 2) |  | LS | BXC0108E | 10 x 2ml | 2-8°C
Blood Gas & Electrolyte Control (Level 3) |  | LS | BXC0108C | 1 x 2ml | 2-8°C
Blood Gas & Electrolyte Control (Level 3) |  | LS | BXC0108F | 10 x 2ml | 2-8°C
Blood Gas & Electrolyte Control (Tri-Level) |  | LS | BXC0108G | 30 x 2ml | 2-8°C
Electrolytes Calibrator |  | LS | BXC0140A | 5 x 5ml | 2-8°C
Electrolytes Control (Level 1) | Low (Na, K, Cl) | LS | BXC0143A | 5 x 5ml | 2-8°C
Electrolytes Control (Level 2) | Normal (Na, K, Cl) | LS | BXC0144A | 5 x 5ml | 2-8°C
Electrolytes Control (Level 3) | High (Na, K, Cl) | LS | BXC0145A | 5 x 5ml | 2-8°C
SECTION 4: Blood GROUPING Control
AB0-Rhesus Blood Grouping Control Set | For use Th-reagents and Anti-K Monoclonal | LS | BXC0070A | 4 x 4ml | 2-8°C
Monoclonal Anti-D Negative Control |  | LS | BDNC0010 | 1 x 10ml | 2-8°C
Precise Weak Anti-D Control | Sensitivity Control for AHG | LS | BGWD0005 | 1 x 5ml | 2-8°C
SECTION 5: Bone Markers Control
Bone Markers Control Level-1 | Osteocalcin, PINP, CTX, Bone Alkaline Phosphatase | Lyo | BXC0707A | 2 x 1 ml | 2-8°C
Bone Markers Control Level-2 | Osteocalcin, PINP, CTX, Bone Alkaline Phosphatase | Lyo | BXC0707B | 2 x 1 ml | 2-8°C
Bone Markers Control Level-3 | Osteocalcin, PINP, CTX, Bone Alkaline Phosphatase | Lyo | BXC0707C | 2 x 1 ml | 2-8°C
Bone Markers Control Tri-Level | Osteocalcin, PINP, CTX, Bone Alkaline Phosphatase | Lyo | BXC0707D | 3 x 1 x 1 ml | 2-8°C
Bone Markers Serum CTX Control Level-1 | CTX (C-TERMINAL TELOPEPTIDE) | Lyo | BXC0705A | 3 x 1 ml | 2-8°C
Bone Markers Serum CTX Control Level-2 | CTX (C-TERMINAL TELOPEPTIDE) | Lyo | BXC0705B | 3 x 1 ml | 2-8°C
SECTION 6: Cardiac Control
BNP Control Level-1 | human Serum Base, Reconstituted Stability 8 hours at 2-8°C | Lyo | BXC0520A | 1 x 0.5ml | 2-8°C
BNP Control Level-2 | human Serum Base, Reconstituted Stability 8 hours at 2-8°C | Lyo | BXC0521A | 1 x 0.5ml | 2-8°C
Cardiac Control (Level 1) | CK Total, CKMB Activity, CKMB Mass, Tni,TnT, Digoxin, Homocysteine, Myoglobin | Lyo | BXC0455A | 5 x 2ml | 2-8°C
Cardiac Control (Level 1) | CK Total, CKMB Activity, CKMB Mass, Tni,TnT, Digoxin, Homocysteine, Myoglobin | Lyo | BXC0455B | 5 x 1ml | 2-8°C
Cardiac Control (Level 2) | CK Total, CKMB Activity, CKMB Mass, Tni,TnT, Digoxin, Homocysteine, Myoglobin | Lyo | BXC0456A | 5 x 2ml | 2-8°C
Cardiac Control (Level 2) | CK Total, CKMB Activity, CKMB Mass, Tni,TnT, Digoxin, Homocysteine, Myoglobin | Lyo | BXC0456B | 5 x 1ml | 2-8°C
Cardiac Control (Level 3) | CK Total, CKMB Activity, CKMB Mass, Tni,TnT, Digoxin, Homocysteine, Myoglobin | Lyo | BXC0464A | 5 x 2ml | 2-8°C
Cardiac Control (Level 3) | CK Total, CKMB Activity, CKMB Mass, Tni,TnT, Digoxin, Homocysteine, Myoglobin | Lyo | BXC0464B | 5 x 1ml | 2-8°C
Cardiac Control Set (L1-L3) | CK Total, CKMB Activity, CKMB Mass, Tni,TnT, Digoxin, Homocysteine, Myoglobin | Lyo | BXC0450A | 3 x 1 x 2ml | 2-8°C
Cardiac Control Set (L1-L3) | CK Total, CKMB Activity, CKMB Mass, Tni,TnT, Digoxin, Homocysteine, Myoglobin | Lyo | BXC0450B | 3 x 1 x 1ml | 2-8°C
CK / CKMB Calibrator |  | Lyo | BXC0454A | 1 x 2ml | 2-8°C
CK / CKMB Calibrator |  | Lyo | BXC0454B | 5 x 2ml | 2-8°C
CK / CKMB Control (Level 1) |  | Lyo | BXC0453A | 1 x 2ml | 2-8°C
CK / CKMB Control (Level 1) |  | Lyo | BXC0453B | 5 x 2ml | 2-8°C
CK / CKMB Control (Level 1) |  | Lyo | BXC0453C | 10 x 2ml | 2-8°C
CK / CKMB Control (Level 2) |  | Lyo | BXC0459A | 1 x 2ml | 2-8°C
CK / CKMB Control (Level 2) |  | Lyo | BXC0459B | 5 x 2ml | 2-8°C
CK / CKMB Control (Level 2) |  | Lyo | BXC0459C | 10 x 2ml | 2-8°C
D-Dimer Calibrator |  | Lyo | BXC0788A | 5 x 1 x1ml | 2-8°C
D-Dimer Control Set (2 Levels) | L1-L2 | Lyo | BXC0789A | 2 x 1 x1ml | 2-8°C
Homocysteine Calibrator (2 Levels) |  | Lyo | BXC0691B | 2 x 1 x 1ml | 2-8°C
Homocysteine Control (2 Levels) |  | Lyo | BXC0692A | 2 x 1 x 1ml | 2-8°C
Myoglobin Calibrator Series |  | Lyo | BXC0486A | 5 x 1 x 0.5ml | 2-8°C
Myoglobin Control |  | Lyo | BXC0487A | 1 x 0.5ml | 2-8°C
NTProBNP Calibrator | Reconstitued Stability 8 hours at 2-8°C | Lyo | BXC0335A | 1 x 1ml | 2-8°C
NTProBNP Calibrator Series (6 Levels) | Reconstitued Stability 8 hours at 2-8°C | Lyo | BXC0336A | 6 x 1 x 1ml | 2-8°C
Troponin-I Calibrator Set (L1-L6) | For use on all major systems | Lyo | BXC0473A | 6 x 1 x 1ml | 2-8°C
Troponin-I Control Set (L1-L2) | For use on all major systems | Lyo | BXC0470A | 2 x 1 x 1ml | 2-8°C
Troponin-T High Sensitivity Control | For use on all major systems | LS | BXC0457A | 3 x 1ml | 2-8°C
SECTION 7: Clinical Chemistry Control |  |  |  |  | 2-8°C
ADA Calibrator |  | LS | BXC0209A | 1 x 1ml | 2-8°C
ADA Calibrator |  | Lyo | BXC0217A | 1 x 1ml | 2-8°C
ADA Control (Level 1) |  | Lyo | BXC0218A | 1 x 1ml | 2-8°C
ADA Control (Level 1) |  | LS | BXC0210A | 1 x 1ml | 2-8°C
ADA Control (Level 2) |  | Lyo | BXC0219A | 1 x 1ml | 2-8°C
ADA Control (Level 2) |  | LS | BXC0216A | 1 x 1ml | 2-8°C
Alcohol, Ammonia, Carbonate Calibrator |  | LS | BXC0492A | 1 x 2ml | 2-8°C
Alcohol, Ammonia, Carbonate Control (Level 1) |  | LS | BXC0493A | 1 x 2ml | 2-8°C
Alcohol, Ammonia, Carbonate Control (Level 2) |  | LS | BXC0494A | 1 x 2ml | 2-8°C
Aldolase Calibrator |  | Lyo | BXC0394A | 3 x 1ml | 2-8°C
Aldolase Control Elevated |  | Lyo | BXC0393A | 3 x 1ml | 2-8°C
Aldolase Control Normal |  | Lyo | BXC0392A | 3 x 1ml | 2-8°C
Alpha-1-Acid Glycoprotein Calibrator |  | LS | BXC0892A | 2 x 1ml | 2-8°C
Alpha-1-Acid Glycoprotein Control |  | LS | BXC0891A | 2 x 1ml | 2-8°C
Alpha-1-Antitrypsin Calibrator |  | LS | BXC0711A | 1 x 2ml | 2-8°C
Alpha-1-Antitrypsin Control (Level 1 & Level 2) |  | LS | BXC0712A | 2 x 1 x 2ml | 2-8°C
Alpha-1-Microglobulin Calibrator |  | LS | BXC0887A | 1 x 1ml | 2-8°C
Alpha-1-Microglobulin Control (Level 1 & Level 2) |  | LS | BXC0889A | 2 x 1 x 1ml | 2-8°C
Aluminium Control (Level 1) |  | LS | BXC0696A | 1 x 1ml | 2-8°C
Aluminium Control (Level 2) |  | LS | BXC0697A | 1 x 1ml | 2-8°C
Aluminium Control (Level 3) |  | LS | BXC0698A | 1 x 1ml | 2-8°C
Ammonia Calibrator |  | LS | BXC0373A | 3 x 2ml | 2-8°C
Ammonia Control High | High | LS | BXC0375A | 3 x 2ml | 2-8°C
Ammonia Control Low | Low | LS | BXC0374A | 3 x 2ml | 2-8°C
Angiotensin Converting Enzyme (ACE) Control (Level 1) |  | Lyo | BXC0178A | 3 x 1ml | 2-8°C
Angiotensin Converting Enzyme (ACE) Control (Level 2) |  | Lyo | BXC0179A | 3 x 1ml | 2-8°C
Angiotensin Converting Enzyme (ACE) Calibrator |  | Lyo | BXC0177A | 3 x 1ml | 2-8°C
Anti-CCP Calibrator |  | LS | BXC0379D | 1 x 1ml | 2-8°C
Anti-CCP Calibrator Series |  | LS | BXC0379B | 6 x 1 x 1ml | 2-8°C
Anti-CCP Control Set |  | LS | BXC0379C | 2 x 1 x 1ml | 2-8°C
Anti-Mullerian Hormone (AMH) Calibrators & Control Set |  | LS | BXC0999A | Calibrator Set: 2 x 1x0.5ml ; Control Set: 2x1x0.5ml | 2-8°C
APO A1/B Calibrator Series (L1-L6) |  | LS | BXC0413A | 6 x 1 x 1ml | 2-8°C
ASO & RF Control |  | LS | BXC0640A | 3 x 1ml | 2-8°C
ASO (Single Point) Calibrator |  | LS | BXC0323A | 1 x 1ml | 2-8°C
ASO (Single Point) Calibrator |  | LS | BXC0323B | 3 x 1ml | 2-8°C
ASO, CRP, RF Control |  | LS | BXC0645A | 3 x 1ml | 2-8°C
Beta-2- Microglobulin Calibrator |  | LS | BXC0647A | 1 x 1 ml | 2-8°C
Beta-2- Microglobulin Control (L1-L2) |  | LS | BXC0648A | 1 x 2 x 1 ml | 2-8°C
Bile Acid Calibrator |  | LS | BXC0582A | 1 x 1ml | 2-8°C
Bile Acid Control Set (L1-L2) |  | LS | BXC0583A | 2 x 1 x 1ml | 2-8°C
Bilirubin Calibrator |  | Lyo | BXC0319A | 3 x 1ml | 2-8°C
Bilirubin Calibrator |  | LS | BXC0303A | 2 x 1ml | 2-8°C
Bilirubin Control | Normal | LS | BXC0306A | 1 x 1ml | 2-8°C
Bilirubin Control | Normal | LS | BXC0306B | 3 x 1ml | 2-8°C
Bilirubin Control | Elevated | LS | BXC0307A | 1 x 1ml | 2-8°C
Bilirubin Control | Elevated | LS | BXC0307B | 3 x 1ml | 2-8°C
Bilirubin Control | Elevated | Lyo | BXC0318A | 1 x 1ml | 2-8°C
Bilirubin Control | Elevated | Lyo | BXC0318B | 5 x 1ml | 2-8°C
Bilirubin Control Set |  | LS | BXC0304A | 2 x 1 x 1ml | 2-8°C
Bilirubin Control Set, Paediatric |  | LS | BXC0305A | 2 x 1 x 1ml | 2-8°C
Blood Alcohol Calibrator |  | LS | BXC0488A | 1 x 2ml | 2-8°C
Blood Alcohol Control (Level 1) |  | LS | BXC0489A | 1 x 2ml | 2-8°C
Blood Alcohol Control (Level 2) |  | LS | BXC0490A | 1 x 2ml | 2-8°C
Calibration Serum |  | Lyo | BXC0321K | 1 x 3ml | 2-8°C
Calibration Serum |  | Lyo | BXC0321L | 5 x 3ml | 2-8°C
Calibration Serum |  | Lyo | BXC0321M | 10 x 3ml | 2-8°C
Citrate (Urinary) Calibrator | 200mg/L | LS | BXC0136A | 2 x 1ml | 2-8°C
Citrate (Urinary) Control (Level 1) | 50mg/L | LS | BXC0137A | 2 x 1ml | 2-8°C
Citrate (Urinary) Control (Level 2) | 1000mg/L | LS | BXC0139A | 2 x 1ml | 2-8°C
CO2 (Bicarbonate) Calibrator |  | LS | BXC0155A | 3 x 2ml | 2-8°C
CO2 (Bicarbonate) Control Low | Low | LS | BXC0156A | 3 x 2ml | 2-8°C
CO2 (Bicarbonate) Control High | High | LS | BXC0157A | 3 x 2ml | 2-8°C
CRP (Multi Point) Calibrator (L1-L6) | Suitable for Turbilatex CRP assay | LS | BXC0385A | 6 x 1 x 1ml | 2-8°C
CRP (Single Point) Calibrator | Suitable for Turbilatex CRP assay | LS | BXC0385B | 1 x 1 ml | 2-8°C
CRP (Single Point) Calibrator (L6) | Suitable for Immunoturbidimetric CRP assay to be diluted by the end-user | LS | BXC0386B | 3 x 1ml | 2-8°C
CRP (Multi Point) Calibrator (L1-L6) | 0.0 - 280 mg/L | LS | BXC0386A | 6 x 1 x 1ml | 2-8°C
CRP (Ultra Sensitive) Control Set |  | LS | BXC0325A | 2 x 1 x 1ml | 2-8°C
CRP (Ultra Sensitive) Calibrator Set (L1-L6) |  | LS | BXC0327A | 6 x 1 x 0.5ml | 2-8°C
CRP Control (Level 1) |  | LS | BXC0326A | 5 x 1ml | 2-8°C
CRP Control (Level 2) |  | LS | BXC0326B | 5 x 1ml | 2-8°C
CRP Control Set (L1-L2) |  | LS | BXC0326C | 2 x 1 x1 ml | 2-8°C
CSF Control (Level 1) | Microalbumin, Chloride, Glucose, IgA, IgG,IgM, Lactate, Sodium, Total Protein | LS | BXC0673A | 1 x 1ml | 2-8°C
CSF Control (Level 2) | Microalbumin, Chloride, Glucose, IgA, IgG,IgM, Lactate, Sodium, Total Protein | LS | BXC0673B | 1 x 1ml | 2-8°C
Cyanmethaemoglobin Standard Set (L1-L5) | 8,10,12,15,18 g/dL | LS | BXC0483A | 5 x 1 x 10ml | 2-8°C
Cystatin C Calibrator Set (6 Levels) |  | LS | BXC0334A | 6 x 1ml | 2-8°C
Cystatin C Control (Level 1) |  | LS | BXC0333A | 2 x 1ml | 2-8°C
Cystatin C Control (Level 2) |  | LS | BXC0333B | 2 x 1ml | 2-8°C
D3-Hydroxybutyrate Calibrator |  | Lyo | BXC0544A | 1 x 3ml | 2-8°C
D3-Hydroxybutyrate Control (Level 1) |  | Lyo | BXC0543A | 1 x 5ml | 2-8°C
D3-Hydroxybutyrate Control (Level 2) |  | Lyo | BXC0543B | 1 x 5ml | 2-8°C
D-Dimer Calibrator Set (L1-L5) |  | Lyo | BXC0788A | 1 x 1 ml | 2-8°C
D-Dimer Control set (L1-L2) |  | Lyo | BXC0789A | 2 x 1 x 1 ml | 2-8°C
ESR Control (Level 1) | To be used with all routine ESR instruments | LS | BXC0631A | 2 x 10ml | 2-8°C
ESR Control (Level 2) | To be used with all routine ESR instruments | LS | BXC0632A | 2 x 10ml | 2-8°C
Ferritin Calibrator |  | LS | BXC0445A | 1 x 1ml | 2-8°C
Ferritin Calibrator Set (L1-L6) |  | LS | BXC0445B | 6 x 1 x 1ml | 2-8°C
Ferritin Control (Level 1) |  | LS | BXC0443A | 3 x 1ml | 2-8°C
Ferritin Control (Level 2) |  | LS | BXC0444A | 3 x 1ml | 2-8°C
Fructosamine Calibrator |  | LS | BXC0592A | 1 x 1ml | 2-8°C
Fructosamine Control (Level 1) | Low | LS | BXC0593A | 3 x 1ml | 2-8°C
Fructosamine Control (Level 2) | High | LS | BXC0594A | 3 x 1ml | 2-8°C
G-6-PDH Control | Deficient | Lyo | BXC0572B | 3 x 1.0ml | 2-8°C
G-6-PDH Control | Normal | Lyo | BXC0573B | 3 x 1.0ml | 2-8°C
Glucose-Fructose Control (Level 1) |  | LS | BXC0099A | 1 x 1ml | 2-8°C
Glucose-Fructose Control (Level 2) |  | LS | BXC0099B | 1 x 1ml | 2-8°C
Glutathione Peroxidase Control |  | Lyo | BXC0556A | 5 x 1 ml | 2-8°C
Glutathione Peroxidase Control |  | Lyo | BXC0556B | 5 x 0.5 ml | 2-8°C
Glutathione Peroxidase Calibrator |  | Lyo | BXC0557A | 5 x 1 ml | 2-8°C
Glycerol Control |  | LS | BXC0278A | 2 x 5ml | 2-8°C
HDL/LDL Calibrator |  | LS | BXC0315D | 3 x 1ml | 2-8°C
HDL/LDL Calibrator |  | LS | BXC0315E | 1 x 1ml | 2-8°C
Human Assayed Control (Level 1) |  | Lyo | BXC0312A | 10 x 5ml | 2-8°C
Human Assayed Control (Level 2) |  | Lyo | BXC0312B | 10 x 5ml | 2-8°C
Human Assayed Control (Level 1) |  | Lyo | BXC0312C | 5 x 5ml | 2-8°C
Human Assayed Control (Level 2) |  | Lyo | BXC0312D | 5 x 5ml | 2-8°C
Human Assayed Control (Level 1) |  | Lyo | BXC0312E | 1 x 5ml | 2-8°C
Human Assayed Control (Level 2) |  | Lyo | BXC0312F | 1 x 5ml | 2-8°C
Assayed Chemistry Control (Level-1) | GenChem UltraQC TR Level-1 LIQUID FROZEN | LS (Frozen) | BXC0365A | 6 x 5 ml | 2-8°C
Assayed Chemistry Control (Level-2) | GenChem UltraQC TR Level-2 LIQUID FROZEN | LS (Frozen) | BXC0365B | 6 x 5 ml | 2-8°C
Assayed Chemistry Control (Level-3) | GenChem UltraQC TR Level-3 LIQUID FROZEN | LS (Frozen) | BXC0365C | 6 x 5 ml | 2-8°C
IgG Sub Classes Control Set |  | LS | BXC0726A | 2 x 1 x 0.5ml | 2-8°C
IgG Sub Classes Calibrator (IgG 1, 2, 3) |  | LS | BXC0727A | 1 x 1ml | 2-8°C
IgG Sub Classes Calibrator (IgG4) |  | LS | BXC0728A | 1 x 1ml | 2-8°C
IgE |  | Lyo | BXC0752A | 1 x 1ml | 2-8°C
IgE Control Set (L1-L2) |  | Lyo | BXC0753A | 2 x 1 x 1ml | 2-8°C
Immunoglobulin Calibrator | IgA, IgG, IgM | LS | BXC0040A | 3 x 1 ml | 2-8°C
Lipase, Calibrator |  | LS | BXC0510A | 3 x 1ml | 2-8°C
Lipoprotein (a) Calibrator | High | Lyo | BXC0134A | 1 x 1ml | 2-8°C
Lipoprotein (a) Control | Low | Lyo | BXC0131A | 1 x 1ml | 2-8°C
Lipoprotein (a) Control | High | Lyo | BXC0133A | 1 x 1ml | 2-8°C
Lithium Calibrator | Suitable for Enzymatic Lithium | LS | BXC0141A | 1 x2x1ml | 2-8°C
Lithium 3000 Calibrator | 3000 mmol/L | LS | BXC0106A | 2 x 1ml | 2-8°C
Methanol Calibrator |  | LS | BXC0497A | 1 x 2ml | 2-8°C
Methanol Control (Level 1) |  | LS | BXC0498A | 1 x 2ml | 2-8°C
Methanol Control (Level 2) |  | LS | BXC0499A | 1 x 2ml | 2-8°C
Microalbumin Calibrator Series |  | LS | BXC0329A | 5 x 1 x 1ml | 2-8°C
Microalbumin Control Set (L1-L2) |  | LS | BXC0328A | 2 x 1 x 1ml | 2-8°C
Myoglobin Calibrator |  | Lyo | BXC0486A | 1 x 1 x 0.5ml | 2-8°C
Myoglobin Control |  | Lyo | BXC0487A | 1 x 0.5ml | 2-8°C
Oxalate (Urinary) Calibrator | 0.5 mmol/L | LS | BXC0147A | 1 x 5ml | 2-8°C
Oxalate (Urinary) Control (Level 1) | 0.2 mmol/L | LS | BXC0148A | 1 x 5ml | 2-8°C
Oxalate (Urinary) Control (Level 2) | 0.7 mmol/L | LS | BXC0149A | 1 x 5ml | 2-8°C
RF (Multi-Point) Calibrator | Immunoturbidimetric | LS | BXC0612A | 1 x 2ml | 2-8°C
RF (Multi-Point) Calibrator | Immunoturbidimetric | LS | BXC0612B | 3 x 2ml | 2-8°C
TIBC Calibrator (Single Level) |  | Lyo | BXC0238A | 2 x 1ml | 2-8°C
Vitamin D Control Set |  | LS | BXC0474A | 2 x 1 x 1ml | 2-8°C
Vitamin D Calibrator Set |  | LS | BXC0475A | 5 x 1 x 1ml | 2-8°C
Zinc & Copper Calibrator |  | Lyo | BXC0463A | 2 x 1ml | 2-8°C
SECTION 8: Coagulation Control
D-Dimer Calibrator Set (L1-L5) |  | Lyo | COAG136A | 5 x 0.5 ml | 2-8°C
D-Dimer Control Low |  | Lyo | COAG134A | 5 x 0.5 ml | 2-8°C
D-Dimer Control High |  | Lyo | COAG135B | 5 x 0.5 ml | 2-8°C
FDP Control Low |  | Lyo | COAG140A | 5 x 0.5 ml | 2-8°C
FDP Control High |  | Lyo | COAG141A | 5 x 0.5 ml | 2-8°C
Lupus Antigoagulant (LA) Control Negative |  | Lyo | COAG145A | 5 x 1 ml | 2-8°C
Lupus Antigoagulant (LA) Control Positive |  | Lyo | COAG146A | 5 x 1 ml | 2-8°C
Protein C Control Low |  | Lyo | COAG150A | 5 x 1 ml | 2-8°C
Protein C Control Normal |  | Lyo | COAG151A | 5 x 1 ml | 2-8°C
Protein S Control Low |  | Lyo | COAG155A | 5 x 1 ml | 2-8°C
Protein S Control Normal |  | Lyo | COAG156A | 5 x 1 ml | 2-8°C
Factor Assays Control Normal | Factor II, V, VII, VIII, IX, X, XI, XII) | Lyo | COAG160A | 5 x 1 ml | 2-8°C
Factor Assays Control Abnormal | Factor II, V, VII, VIII, IX, X, XI, XII) | Lyo | COAG161A | 5 x 1 ml | 2-8°C
Factor Assays Calibrator Plasma | Factor II, V, VII, VIII, IX, X, XI, XII) | Lyo | COAG162A | 5 x 1 ml | 2-8°C
Plasma Calibrator | PT, aPTT, Fibrinogen, Thrombin Time | Lyo | COAG125A | 5 x 1 ml | 2-8°C
Plasma Control (Level 1 & Level 2) | PT, aPTT, Fibrinogen, Thrombin Time | Lyo | COAG112A | 2 x 5 x 1 ml | 2-8°C
Plasma Control (Level 1) | PT, aPTT, Fibrinogen, Thrombin Time | Lyo | COAG108A | 1 x 1 ml | 2-8°C
Plasma Control (Level 1) | PT, aPTT, Fibrinogen, Thrombin Time | Lyo | COAG108B | 5 x 1 ml | 2-8°C
Plasma Control (Level 2) | PT, aPTT, Fibrinogen, Thrombin Time | Lyo | COAG109A | 1 x 1 ml | 2-8°C
Plasma Control (Level 2) | PT, aPTT, Fibrinogen, Thrombin Time | Lyo | COAG109B | 5 x 1 ml | 2-8°C
SECTION 9: CUSTOMISED QUALITY CONTROL
SECTION 10: Diabetes Control
Fructosamine Calibrator |  | LS | BXC0592A | 1 x 1ml | 2-8°C
Fructosamine Control (Level 1) | Low | LS | BXC0593A | 3 x 1ml | 2-8°C
Fructosamine Control (Level 2) | High | LS | BXC0594A | 3 x 1ml | 2-8°C
HbA1c (HPLC) Calibrator Set (2 Levels) | Suitable for HPLC Method Only | Lyo | BXC0780A | 2 x 1 x 1 ml | 2-8°C
HbA1c (HPLC) Control Set (2 Levels) | Suitable for HPLC Method Only | Lyo | BXC0779A | 2 x 1 x 1 ml | 2-8°C
HbA1c Calibrator Set (L1-L2) |  | Lyo | BXC0668A | 2 x 1 x 0.5ml | 2-8°C
HbA1c Control Set (2 Levels) |  | Lyo | BXC0669A | 2 x 1 x 0.5ml | 2-8°C
SECTION 11: Drugs of Abuse Control |  |  |  |  | 2-8°C
Drugs of Abuse Control (Level 1) | Amphetamine, Barbiturates, Benzodiazepines, Cannabinoids, Cocaine, LSD, Methodone, Opiates, Phencyclidine, Propoxyphene, TCA | LS | BXC0784A | 10 x 10ml
Drugs of Abuse Control (Level 1) | Amphetamine, Barbiturates, Benzodiazepines, Cannabinoids, Cocaine, LSD, Methodone, Opiates, Phencyclidine, Propoxyphene, TCA | LS | BXC0784B | 10 x 3ml | 2-8°C
Drugs of Abuse Control (Level 2) | Amphetamine, Barbiturates, Benzodiazepines, Cannabinoids, Cocaine, LSD, Methodone, Opiates, Phencyclidine, Propoxyphene, TCA | LS | BXC0785A | 10 x 10ml | 2-8°C
Drugs of Abuse Control (Level 2) | Amphetamine, Barbiturates, Benzodiazepines, Cannabinoids, Cocaine, LSD, Methodone, Opiates, Phencyclidine, Propoxyphene, TCA | LS | BXC0785B | 10 x 3ml | 2-8°C
Drugs of Abuse Control (Level 3) | Amphetamine, Barbiturates, Benzodiazepines, Cannabinoids, Cocaine, LSD, Methodone, Opiates, Phencyclidine, Propoxyphene, TCA | LS | BXC0786A | 10 x 10ml | 2-8°C
Drugs of Abuse Control (Level 3) | Amphetamine, Barbiturates, Benzodiazepines, Cannabinoids, Cocaine, LSD, Methodone, Opiates, Phencyclidine, Propoxyphene, TCA | LS | BXC0786B | 10 x 3ml | 2-8°C
Tricyclic Anti-depressant Calibrator/ Control | Suitable for Quantitative Automated DOA on Clinical Chemistry Platforms | Lyo | BXC0996C | 3 x 3 x 3 ml | 2-8°C
Multi DOA Calibrator/ Control | Suitable for Quantitative Automated DOA on Clinical Chemistry Platforms | LS | BXC0898A | 6 x 1 x 1 ml | 2-8°C
SECTION 12: Haematology Control |  |  |  |  | 2-8°C
Haematology Calibrator | Haematology calibrator suitable for 3-part differential Analysers | LS | HAEMC005 | 3 x 3ml
Haematology Control (Level 1) | Haematology control suitable for 3-part differential Analysers | LS | HAEMC001 | 3 x 3ml | 2-8°C
Haematology Control (Level 2) | Haematology control suitable for 3-part differential Analysers | LS | HAEMC002 | 3 x 3ml | 2-8°C
Haematology Control (Level 3) | Haematology control suitable for 3-part differential Analysers | LS | HAEMC003 | 3 x 3ml | 2-8°C
Haematology Control (3 Levels) | Haematology control suitable for 3-part differential Analysers | LS | HAEMC004 | 3 x 3 x 3ml | 2-8°C
SECTION 13: Immunoassay / Infectious Disease Control
COVID-19 Anitgen Control Pair | Positive and Negative Control | LS | COVIDNPC | 2 x 1 x 0.5ml | 2-8°C
HBsAb Control Panel (2 Levels) |  | LS | BXC0805A | 2 x 1 x 0.5ml | 2-8°C
HBsAg Control Panel (5 Levels) |  | LS | BXC0800A | 5 x 1 x 0.5ml | 2-8°C
HCV Antibody Control Panel (4 Levels) |  | LS | BXC0804A | 4 x 1 x 0.5ml | 2-8°C
HE4 (Level 1) |  | Lyo | BXC0425A | 1 x 0.25ml | 2-8°C
HE4 (Level 2) |  | Lyo | BXC0425B | 1 x 0.25ml | 2-8°C
HIV-I Antibody Control Panel (4 Levels) |  | LS | BXC0802A | 4 x 1 x 1ml | 2-8°C
HIV-I Antigen (p24) Control Panel (4 Levels) |  | LS | BXC0803A | 4 x 1 x 0.5ml | 2-8°C
Syphilis Control Panel (6 Levels) |  | LS | BXC0806A | 6 x 1 x 0.5ml | 2-8°C
TORCH Control Negative | For use on all major systems | LS | BXC0799A | 3 x 1ml | 2-8°C
TORCH IgG Control Positive | For use on all major systems | LS | BXC0799B | 3 x 1ml | 2-8°C
TORCH IgM Control Positive | For use on all major systems | LS | BXC0799C | 3 x 1ml | 2-8°C
H-Pylori Control (2 Levels) |  | LS | BXC0684A | 2 x 1 x 1ml | 2-8°C
Anti Mullerian Hormone (AMH) Calibrators & Controls | CAL A; BAL B-G; Ctrl L1; Ctrl L2 | Lyo | BXC0999A | 1 x 0.5ml; 6 x 0.5 ml; 1 x 0.5ml; 1 x 0.5ml | 2-8°C
hCG Serum Control | Positive | LS | BXC0681A | 1 x 1ml | 2-8°C
hCG Serum Control | Negative | LS | BXC0682A | 1 x 1ml | 2-8°C
hCG Serum Control | Positive | LS | BXC0683A | 1 x 5ml | 2-8°C
IFN-ɣ Control |  | Lyo | BXC0702A | 3 x 1 ml | 2-8°C
Immunoassay Control (Level 1) |  | Lyo | BXC0363A | 4 x 3ml | 2-8°C
Immunoassay Control (Level 2) |  | Lyo | BXC0363B | 4 x 3ml | 2-8°C
Immunoassay Control (Level 3) |  | Lyo | BXC0363C | 4 x 3ml | 2-8°C
Immunoassay Tri-Level Control |  | Lyo | BXC0363D | 3 x 4 x 3ml | 2-8°C
Immunoassay Speciality Control (Level 1) | Vitamin-D, Anti TG, Anti-TPO, C-Peptide, IGF-1, Insulin,Osteocalcin, PTH, Procalcitonin | Lyo | BXC0364A | 1x2 ml | 2-8°C
Immunoassay Speciality Control (Level 2) | Vitamin-D, Anti TG, Anti-TPO, C-Peptide, IGF-1, Insulin,Osteocalcin, PTH, Procalcitonin | Lyo | BXC0364B | 1x2 ml | 2-8°C
Immunoassay Speciality Control (Level 3) | Vitamin-D, Anti TG, Anti-TPO, C-Peptide, IGF-1, Insulin,Osteocalcin, PTH, Procalcitonin | Lyo | BXC0364C | 1x2 ml | 2-8°C
Immunoassay Speciality Control (Level 3) | Vitamin-D, Anti TG, Anti-TPO, C-Peptide, IGF-1, Insulin,Osteocalcin, PTH, Procalcitonin | Lyo | BXC0364D | 3 x 1 x 2ml | 2-8°C
Procalcitonin Control Set (2 Levels) | L1-L2 | LS | BXC0590B | 2x1x1ml | 2-8°C
Retinol Binding Protein Control |  | LS | BXC0995A | 1 x 1ml | 2-8°C
Serum Amyloid A (SAA) Control |  | Lyo | BXC0703A | 3 x 1 ml | 2-8°C
Tumour Marker Control (Level 1) | For use on all major systems & Methods including Immunoassay, AFP, CEA, CA-125, CA-19.9, CA-15-3, Ferritin, Beta-2-Microglobulin, FPSA, PSA, F-beta-hCG, Thyroglobulin. | Lyo | BXC0792A | 5 x 2ml | 2-8°C
Tumour Marker Control (Level 2) | For use on all major systems & Methods including Immunoassay, AFP, CEA, CA-125, CA-19.9, CA-15-3, Ferritin, Beta-2-Microglobulin, FPSA, PSA, F-beta-hCG, Thyroglobulin. | Lyo | BXC0792B | 5 x 2ml | 2-8°C
Tumour Marker Control SET (2-Levels) | For use on all major systems & Methods including Immunoassay, AFP, CEA, CA-125, CA-19.9, CA-15-3, Ferritin, Beta-2-Microglobulin, FPSA, PSA, F-beta-hCG, Thyroglobulin. | Lyo | BXC0793A | 2 x 1 x 2ml | 2-8°C
Vitamin-D Calibrator Set (5 Levels) | Open vial stability 30 Days | LS | BXC0475A | 5 x 1 x 1ml | 2-8°C
Vitamin-D Control Set (2 levels) | Open vial stability 30 Days | LS | BXC0474A | 2 x 1 x 1ml | 2-8°C
Xanthochromia Positive Control |  | Lyo | BXC0355A | 3 x 1 ml | 2-8°C
SECTION 14: Immunology / Protein Control |  |  |  |  | 2-8°C
APO A1/B Calibrator Series | Open vial stability 30 Days | LS | BXC0413A | 6 x 1 x 1ml
ASO (Single Point) Calibrator | Immunoturbidimetric | LS | BXC0323A | 1 x 1ml | 2-8°C
ASO (Single Point) Calibrator | Immunoturbidimetric | LS | BXC0323B | 3 x 1ml | 2-8°C
ASO, CRP, RF Control | Immunoturbidimetric | LS | BXC0645A | 3 x 1ml | 2-8°C
CRP (Multi Point) Calibrator (L1-L6) | Suitable for Turbilatex CRP assay | LS | BXC0385A | 6 x 1 x 1ml | 2-8°C
CRP (Single Point) Calibrator | Suitable for Turbilatex CRP assay | LS | BXC0385B | 1 x 1 ml | 2-8°C
CRP (Single Point) Calibrator (L6) | Suitable for Immunoturbidimetric CRP assay to be diluted by the end-user | LS | BXC0386B | 3 x 1ml | 2-8°C
CRP (Multi Point) Calibrator (L1-L6) | 0.0 - 280 mg/L | LS | BXC0386A | 6 x 1 x 1ml | 2-8°C
CRP (Ultra Sensitive) Control Set |  | LS | BXC0325A | 2 x 1 x 1ml | 2-8°C
CRP (Ultra Sensitive) Calibrator Set (L1-L6) |  | LS | BXC0327A | 6 x 1 x 0.5ml | 2-8°C
CRP Control (Level 1) |  | LS | BXC0326A | 5 x 1ml | 2-8°C
CRP Control (Level 2) |  | LS | BXC0326B | 5 x 1ml | 2-8°C
CRP Control Set (L1-L2) |  | LS | BXC0326C | 2 x 1 x1 ml | 2-8°C
ESR Control (Level 1) | To be used with all routine ESR instruments | LS | BXC0631A | 2 x 10ml | 2-8°C
ESR Control (Level 2) | To be used with all routine ESR instruments | LS | BXC0632A | 2 x 10ml | 2-8°C
IgE Calibrator |  | Lyo | BXC0752A | 1 x 1ml | 2-8°C
IgE Control Set (Level 1 & Level 2) |  | Lyo | BXC0753A | 2 x 1 x 1ml | 2-8°C
Liquid Assayed Specific Protein Control (Level 1) | Liquid Ready to Use | LS | BXC0641A | 1 x 1ml | 2-8°C
Liquid Assayed Specific Protein Control (Level 2) | Liquid Ready to Use | LS | BXC0642A | 1 x 1ml | 2-8°C
Liquid Assayed Specific Protein Control (Level 3) | Liquid Ready to Use | LS | BXC0643A | 1 x 1ml | 2-8°C
Liquid Assayed Specific Protein Control (Levels 1,2, 3) | Liquid Ready to Use | LS | BXC0640A | 3 x 1 x 1ml | 2-8°C
Retinol Binding Protein Control |  | LS | BXC0995A | 1 x 1ml | 2-8°C
RF (Multi-Point) Calibrator | Immunoturbidimetric | LS | BXC0612A | 1 x 2ml | 2-8°C
RF (Multi-Point) Calibrator | Immunoturbidimetric | LS | BXC0612B | 3 x 2ml | 2-8°C
Specific Protein Calibrator (L6) | Liquid Ready to Use | LS | BXC0644A | 1 x 1ml | 2-8°C
Specific Protein Calibrator Set (L1-L6) | Liquid Ready to Use | LS | BXC0646A | 6 x 1 x 1ml | 2-8°C
SECTION 15: LIPID Control |  |  |  |  | 2-8°C
Lipid Control (Level 1) | Cholesterol, Triglycerides, APO A1, APO B, HDL, LDL | Lyo | BXC0317A | 3 x 1 ml
Lipid Control (Level 2) | Cholesterol, Triglycerides, APO A1, APO B, HDL, LDL | Lyo | BXC0330A | 3 x 1 ml | 2-8°C
Lipid Control (Level 3) | Cholesterol, Triglycerides, APO A1, APO B, HDL, LDL | Lyo | BXC0316A | 3 x 1 ml | 2-8°C
Lipid Control Set (TRI-LEVELS) | Cholesterol, Triglycerides, APO A1, APO B, HDL, LDL | Lyo | BXC0350A | 3 x 1 x 1 ml | 2-8°C
HDL/LDL Calibrator |  | Lyo | BXC0315D | 3 x 1ml | 2-8°C
HDL/LDL Calibrator |  | Lyo | BXC0315E | 1 x 1ml | 2-8°C
SECTION 16: MATERNAL SCREENING Control |  |  |  |  | 2-8°C
Anti-Mullerian Hormone (AMH) Calibrators & Control |  | Lyo | BXC0999A | Calibrator Set: 2 x 1x0.5ml ; Control Set: 2x1x0.5ml
Maternal Screening Control (Level 1) | For screening of Down's syndrome & Spina Bifida compatible for use on most clinical chemistry systems including Immunoassay systems AFP, F-beta-hCG, Total hCG, UnConjugated Estriol, Inhibin-A, PAPP-A | Lyo | BXC0695A | 2 x 1ml | 2-8°C
Maternal Screening Control (Level 2) | For screening of Down's syndrome & Spina Bifida compatible for use on most clinical chemistry systems including Immunoassay systems AFP, F-beta-hCG, Total hCG, UnConjugated Estriol, Inhibin-A, PAPP-A | Lyo | BXC0695B | 2 x 1ml | 2-8°C
Maternal Screening Control (Level 3) | For screening of Down's syndrome & Spina Bifida compatible for use on most clinical chemistry systems including Immunoassay systems AFP, F-beta-hCG, Total hCG, UnConjugated Estriol, Inhibin-A, PAPP-A | Lyo | BXC0695C | 2 x 1ml | 2-8°C
Maternal Screening Control Tri-Level | For screening of Down's syndrome & Spina Bifida compatible for use on most clinical chemistry systems including Immunoassay systems AFP, F-beta-hCG, Total hCG, UnConjugated Estriol, Inhibin-A, PAPP-A | Lyo | BXC0699A | 3 x1 x 1ml | 2-8°C
Paediatric Control | ALP, Bilirubin, Calcium, Chloride, Magnesium, In. Phosphorous, Potassium, Sodium | Lyo | BXC0807A | 3 x 1ml | 2-8°C
PAPP-A & fβhCG Controls (Level 1) |  | Lyo | BXC0337A | 1 x 0.5ml | 2-8°C
PAPP-A & fβhCG Controls (Level 2) |  | Lyo | BXC0338A | 1 x 0.5ml | 2-8°C
PAPP-A & fβhCG Controls (Level 3) |  | Lyo | BXC0339A | 1 x 0.5ml | 2-8°C
PAPP-A Control |  | Lyo | BXC0240A | 1 x 0.5ml | 2-8°C
placental Growth Factor (PLGF) Control Level-1 | Target: 30pg/ml | LS | BXC0700A | 3 x 2 ml | 2-8°C
placental Growth Factor (PLGF) Control Level-2 | Target: 100pg/ml | LS | BXC0700B | 3 x 2 ml | 2-8°C
placental Growth Factor (PLGF) Control Level-3 | Target: 600pg/ml | LS | BXC0700C | 3 x 2 ml | 2-8°C
SECTION 17: Pre-Eclampsia Control
Pre-eclampsia Control Level-1 | s-FLT-1 (soluble fms-like tyrosine Kinase-1) | Lyo | BXC0704A | 3 x 1 ml | 2-8°C
Pre-eclampsia Control Level-2 | s-FLT-1 (soluble fms-like tyrosine Kinase-1) | Lyo | BXC0704B | 3 x 1 ml | 2-8°C
SECTION 18: NEONATAL SCREENING Control |  |  |  |  | 2-8°C
BCAA (Leucine) Calibrator | Dried Blood Spot Disc | DISC | BXC0067A | 2 x 1 Disc
BCAA (Leucine) Control Level-1 | Dried Blood Spot Disc | DISC | BXC0068A | 2 x 1 Disc | 2-8°C
BCAA (Leucine) Control Level-2 | Dried Blood Spot Disc | DISC | BXC0068B | 2 x 1 Disc | 2-8°C
BCAA (Leucine) Control Level-3 | Dried Blood Spot Disc | DISC | BXC0068C | 2 x 1 Disc | 2-8°C
BCAA (Leucine) Control Level-4 | Dried Blood Spot Disc | DISC | BXC0068D | 2 x 1 Disc | 2-8°C
BCAA (Leucine) Control SET (4-LEVELS) | Dried Blood Spot Disc (4-LEVELS) | DISC | BXC0069A | 4 x 1 x 2 Disc | 2-8°C
Dried Blood Spot Calibrator on Filter Paper | For Neonatal Screening | Disc | BXC0059A | 4 x 1 x 1 Disc | 2-8°C
G-6-PDH Control (Normal) |  | Lyo | BXC0573B | 1 x 1 ml | 2-8°C
G-6-PDH Control (Deficient) |  | Lyo | BXC0572B | 1 x 1 ml | 2-8°C
PKU Calibrator |  | Disc | BXC0064A | 2 x 1 Disc | 2-8°C
PKU CONTROL LEVEL-1 |  | Disc | BXC0065A | 2 x 1 Disc | 2-8°C
PKU CONTROL LEVEL-2 |  | Disc | BXC0065B | 2 x 1 Disc | 2-8°C
PKU CONTROL LEVEL-3 |  | Disc | BXC0065C | 2 x 1 Disc | 2-8°C
PKU CONTROL LEVEL-4 |  | Disc | BXC0065D | 2 x 1 Disc | 2-8°C
PKU CONTROL SET | L1-L4 | Disc | BXC0066A | 4 x 1 x 2 Disc | 2-8°C
Total Galactose Calibrator |  | LS | BXC0060A | 1 x 1ml | 2-8°C
Total Galactose Control (Level 1) |  | LS | BXC0061A | 1 x 1ml | 2-8°C
Total Galactose Control (Level 2) |  | LS | BXC0061B | 1 x 1ml | 2-8°C
Total Galactose Control (Level 3) |  | LS | BXC0061C | 1 x 1ml | 2-8°C
Total Galactose Control (Level 4) |  | LS | BXC0061D | 1 x 1ml | 2-8°C
Total Galactose Control SET (4-Levels) |  | LS | BXC0062A | 1 x 1ml | 2-8°C
SECTION 19: PAEDIATRIC Control |  |  |  |  | 2-8°C
Paediatric Control | ALP, Bilirubin, Calcium, Chloride, Magnesium, In. Phosphorous, Potassium, Sodium | Lyo | BXC0807A | 3 x 1 ml
SECTION 20: SPECIALITY Control- SERUM INDICES |  |  |  |  | 2-8°C
Serum Indices (LIH) | Lyophilised for Beckman Coulter Series | Lyo | BXC0599F | 3 x 4 x 5 ml
Serum Indices (LIH) | Liquid Frozen for Beckman Coulter Series | LF | BXC0600F | 3 x 4 x 5 ml | 2-8°C
Serum Indices (LIH) | Lyopholised for Roche Series | Lyo F | BXC0604F | 3 x 4 x 5 ml | 2-8°C
Serum Indices (LIH) | Liquid Frozen for Roche Series | LF | BXC0605F | 3 x 4 x 5 ml | 2-8°C
Serum Indices (LIH) | Lyophilised for Abbott Series | Lyo F | BXC0606F | 3 x 4 x 5 ml | 2-8°C
Serum Indices (LIH) | Liquid Frozen for Abbott Series | LF | BXC0607F | 3 x 4 x 5 ml | 2-8°C
Serum Indices (LIH) | Lyophilised for Vitros Series | Lyo F | BXC0608F | 3 x 4 x 5 ml | 2-8°C
Serum Indices (LIH) | Liquid Frozen for Vitros Series | LF | BXC0609F | 3 x 4 x 5 ml | 2-8°C
Serum Indices (LIH) | Liquid Frozen for Siemens Series | Lyo | BXC0615F | 3 x 4 x 5 ml | 2-8°C
Serum Indices (LIH) | Liquid Frozen for Siemens Series | LF | BXC0616F | 3 x 4 x 5 ml | 2-8°C
SECTION 21: Thalassaemia Control -HbA2 |  |  |  |  | 2-8°C
HbA2 Calibrator Set (Normal & Abnormal) | Haemoglobin A2 (HbA2), Haemoglobin F (HPLC SYSTEMS) | Lyo | BXC0664A | 2 x 1 x 0.5ml | 2-8°C
Thalassaemia (HbA2) Control (Level 1) | HbA2, HbF, HbS, HbC | Lyo | BXC0665A | 2 x 0.5ml | 2-8°C
Thalassaemia (HbA2) Control (Level 2) | HbA2, HbF, HbS, HbC | Lyo | BXC0665B | 2 x 0.5ml | 2-8°C
SECTION 22: Therapeutic Drugs Control |  |  |  |  | 2-8°C
Therapeutic Drug Monitoring (Level 1) | Amikacin, Caffeine, Carbamazepine, Cyclosporin, Digoxin, Ethosuxamide, Gentamicin, Lithium, Methotrexate, Paracetamol, Phenobarbitone, Phenytoin, Primidone, Salicylate, Theophylline, Tobramycin, Valproic Acid, Vancomycin | LS | BXC0781A | 5 x 5ml
Therapeutic Drug Monitoring (Level 2) | Amikacin, Caffeine, Carbamazepine, Cyclosporin, Digoxin, Ethosuxamide, Gentamicin, Lithium, Methotrexate, Paracetamol, Phenobarbitone, Phenytoin, Primidone, Salicylate, Theophylline, Tobramycin, Valproic Acid, Vancomycin | LS | BXC0782A | 5 x 5ml | 2-8°C
Therapeutic Drug Monitoring (Level 3) | Amikacin, Caffeine, Carbamazepine, Cyclosporin, Digoxin, Ethosuxamide, Gentamicin, Lithium, Methotrexate, Paracetamol, Phenobarbitone, Phenytoin, Primidone, Salicylate, Theophylline, Tobramycin, Valproic Acid, Vancomycin | LS | BXC0783A | 5 x 5ml | 2-8°C
SECTION 23: URINE Control |  |  |  |  | 2-8°C
Urine Assayed Control (Level 1) |  | Lyo | BXC0661A | 10 x 10ml
Urine Assayed Control (Level 2) |  | Lyo | BXC0661B | 10 x 10ml | 2-8°C
Urine Strip Control (Level 1 & Level 2) | For Urine and hCG Strips Only | LS | BXC0663A | 2 x 3 x 12ml | 2-8°C
Citrate (Urinary) Calibrator | 200mg/L | LS | BXC0136A | 2 x 1ml | 2-8°C
Citrate (Urinary) Control (Level 1) | 50mg/L | LS | BXC0137A | 2 x 1ml | 2-8°C
Citrate (Urinary) Control (Level 2) | 1000mg/L | LS | BXC0139A | 2 x 1ml | 2-8°C
Microalbumin Calibrator Series |  | LS | BXC0329A | 5 x 1ml | 2-8°C
Microalbumin Control Level-1 |  | LS | BXC0328A | 2 x 1ml | 2-8°C
Microalbumin Control Level-2 |  | LS | BXC0328B | 2 x 1ml | 2-8°C
Oxalate (Urinary) Calibrator | 0.5 mmol/L | LS | BXC0147A | 1 x 5ml | 2-8°C
Oxalate (Urinary) Control (Level 1) | 0.2 mmol/L | LS | BXC0148A | 1 x 5ml | 2-8°C
Oxalate (Urinary) Control (Level 2) | 0.7 mmol/L | LS | BXC0149A | 1 x 5ml | 2-8°C
SECTION 24: XANTHOCHROMIA Control |  |  |  |  | 2-8°C
Xanthochromia Positive Control |  | Lyo | BXC0355A | 3 x 1 ml
2-8°C

## AQUEOUS STANDARDS
SECTION 2: AQUEOUS STANDARDS
DESCRIPTION | METHOD | FORMAT | CAT NO. | SIZE | STORAGE
Albumin | 45 g/L (4.5g/dL) | LS | BXCSTD01 | 10 x 5ml | 2-8°C
Calcium | Referenced against NIST 909b (2.5mmol/L 10mg/dL) | LS | BXCSTD02 | 10 x 5ml | 2-8°C
Chloride | Referenced against NIST 909b (75mmol/L) | LS | BXCSTD03 | 10 x 5ml | 2-8°C
Chloride | Referenced against NIST 909b (100mmol/L) | LS | BXCSTD04 | 10 x 5ml | 2-8°C
Cholesterol | Referenced against NIST 909b (5.17mmol/L 200mg/dL) | LS | BXCSTD05 | 10 x 5ml | 2-8°C
Creatinine | Referenced against NIST 909b (177 µmol/L 2 mg/dL) | LS | BXCSTD06 | 10 x 5ml | 2-8°C
Creatinine/Glucose/Urea Standard | Referenced against NIST 965a / 909b (5.55 mmol/L 100mg/dL/ 177 µmol/L / 8.33mmol/L) | LS | BXCSTD24 | 10 x 5ml | 2-8°C
Glucose | Referenced against NIST 965a (5.55 mmol/L 100mg/dL) | LS | BXCSTD07 | 10 x 5ml | 2-8°C
Glucose-Fructose Standard |  | LS | BXCSTD26 | 5 x 1 ml | 2-8°C
Haemoglobin Standard | For Drabkin's Method (18g/dL) | LS | BXCSTD08 | 5 x 10ml | 2-8°C
Haemoglobin Standard Set | For Drabkin's Method (8, 10, 12, 15 & 18g/dL) | LS | BXCSTD09 | 5 x 1 x 10ml | 2-8°C
Iron | 35.8 µmol/L (0.2 mg/dL) | LS | BXCSTD10 | 10 x 5ml | 2-8°C
Iron | 107.4 µmol/L (0.6 mg/dL) | LS | BXCSTD11 | 10 x 5ml | 2-8°C
Lactate | 4.44mmol/L (40mg/dL) | LS | BXCSTD12 | 10 x 5ml | 2-8°C
Magnesium | Referenced against NIST 909b (1.0 mmol/l2.43mg/dL) | LS | BXCSTD13 | 10 x 5ml | 2-8°C
Phosphorus | 1.61 mmol/L (5 mg/dL) | LS | BXCSTD14 | 10 x 5ml | 2-8°C
Potassium | Referenced against NIST 909b (0.5 mmol/L) | LS | BXCSTD15 | 10 x 5ml | 2-8°C
Potassium | Referenced against NIST 909b (5 mmol/L) | LS | BXCSTD16 | 10 x 5ml | 2-8°C
Pyruvate | 2 mmol/L | LS | BXCSTD17 | 10 x 5ml | 2-8°C
Sodium | Referenced against NIST 909b (150.0 mmol/L 150 mEq/L) | LS | BXCSTD18 | 10 x 5ml | 2-8°C
Total Protein | Referenced against NIST 927d (60g/L (6.0 g/dL) | LS | BXCSTD19 | 10 x 5ml | 2-8°C
Triglycerides | Referenced against NIST 909b (2.28 mmol/L 200mg/dL) | LS | BXCSTD20 | 10 x 5ml | 2-8°C
Urea | Referenced against NIST 909b (8.33 mmol/L 50mg/dL) | LS | BXCSTD21 | 10 x 5ml | 2-8°C
Uric Acid | Referenced against NIST 909b (595 µmol/L 10mg/dL) | LS | BXCSTD22 | 10 x 5ml | 2-8°C
Urinary Copper Standard |  | LS | BXCSTD25 | 10 x 5ml | 2-8°C
Urinary/CSF Protein Standard | Referenced against NIST 927d (1g/L) | LS | BXCSTD23 | 10 x 5ml | 2-8°C